| Branch: |  | Contact: |  | Shop: |  |
| --- | --- | --- | --- | --- | --- |
| Specific risk assessment: | Fire prevention in shops | RA No: | VPRA: 102A |
| Person completing RA: |  | Position in shop: |  | Date: |  |
| Injury: | Anxiety, back/ head injury, bruise/ cut, burn, choking, fatality, fracture, puncture wound, sprain/ strain, suffocation |
| People at Risk: | PwMS: | Y/ N | Vulnerable person: | Y/ N | Volunteer: | Y/ N | Lone worker: | Y/ N | Public: | Y/ N |

Branches operating a shop must ensure this risk assessment is completed by an appropriate person (known as shop contact). Thereafter to be reviewed if the Branch believes the document is no longer valid, if there have been major changes within the Branch or annually whichever is soonest. Please see generic risk assessment VPRA: 101 and health and safety handbooks for accompanying notes. To complete the risk assessment: Look at each statement and answer it Yes, No or N/A If all the answers are Yes or N/A, fill in the first line of the Action Plan on the last page; stating “No action needed” sign and date to indicate when the assessment was completed If there are any ‘No’s’ fill in the actions needed, person responsible and completion date in the Action Plan Once outstanding actions are complete, the responsible person must sign and date the last column as each action is completed

| Hazard | Prevention | Y/ N/ NA |
| --- | --- | --- |
| 13.1 | Training (Risk factor – 3 Low) | Volunteers/ staff who are to use fire fighting equipment have attended fire awareness training, with refresher training every three years |  |
| 13.2 | Fire safety plan/ signage (RF – 3 Low) | Fire safety plan HSV: 125 complete and posted in prominent position – all volunteers/ staff know what action to take in an emergency |  |
|  |  | Volunteers/ staff/ visitors sign personnel register HSV: 111 |  |
|  |  | Live or passive fire drills completed twice per year and results recorded on HSV: 126 |  |
|  |  | Visitors accompanied when in non-public areas of the building |  |
|  |  | No smoking signage in place |  |
| 13.3 | Fire alarm, smoke alarm (RF – 3 Low) | Wired/ manual fire alarm in place, tested by shop contact weekly, recorded on HSV: 112 |  |
|  |  | Wired/ manual smoke detectors in place, tested by shop contact weekly, recorded on HSV: 112 |  |
|  |  | Wired fire alarm/ smoke detectors; inspected by a competent person annually, recorded on HSV: 114 |  |
| 13.4 | Fire fighting equipment (RF – 3 Low) | Clearly marked, easily accessible, appropriate fire extinguishers in the shop |  |
|  |  | Fire extinguishers checked for use/ damage by shop contact monthly, recorded on HSV: 112 |  |
|  |  | Fire extinguishers serviced/ tagged by a competent person annually, recorded on HSV: 114 |  |
| 13.5 | Emergency exits and routes (RF – 3 Low) | Emergency routes and exits clearly signposted and functional for everyone |  |
|  |  | Fire exits free of combustible materials and kept closed but not locked at all times |  |
|  |  | Routes and exits checked by shop contact every day property used and recorded on HSV: 112 |  |
| 13.6 | Emergency lighting (RF – 3 Low) | Emergency lighting tested by shop contact every six months, recorded on HSV: 112 |  |
|  |  | Emergency lighting inspected by a competent person annually, recorded on HSV: 114 |  |
|  |  | If no emergency lighting system, torches available, accessible and checked by shop contact monthly, recorded on HSV: 112 |  |
| 13.7 | Services (RF – 3 Low) | Volunteers/ staff in the shop know how to turn off service supplies |  |
|  |  | Gas appliances inspected by Gas Safe engineer annually, recorded on HSV: 114 |  |
|  |  | Fixed electrical installations inspected by competent person every five years, recorded on HSV: 114 |  |
|  |  | Where fault occurs, area cordoned off and owner of the property contacted |  |
| 13.8 | Heating, ventilation, lighting (RF – 3 Low) | Heating, ventilation and lighting suitable and sufficient |  |
|  |  | Tasks kept short in areas prone to extremes of temperature |  |
|  |  | No naked flames in shop |  |
|  |  | Portable heaters/ air conditioners kept away from combustibles and never covered |  |
|  |  | Any equipment likely to become hot, labelled as such |  |
| 13.9 | Shops selling electrical appliances (RF – 3 Low) | Tester competent (City and Guilds 2377/ 002 or equivalent) |  |
|  |  | Testing area has circuit breaker, fire extinguisher, rubber mat and is checked by shop contact monthly for compliance (HSV: 112) |  |
|  |  | Products tested according to the IEE code of practice |  |
|  |  | Items tagged with the date of test and record made of them in HSV: 116 register |  |
|  |  | List available of items not to be offered for sale |  |
|  |  | MS Society disclaimer HSV: 150 given with all products sold |  |

| Action Plan |
| --- |
| Hazard No. | Action Needed | Responsible Person | Completion Date | Signed/ dated for completion |