| Generic risk assessment: | MS Society properties | RA No: | VPRA: 101 | Date of RA: | June 2022 |
| --- | --- | --- | --- | --- | --- |
| Description of activity: | Safety in MS Society owned or leased properties including day centre, garages, offices and shops |
| People at Risk: | PwMS: | Yes | Volunteers: | Yes | Vulnerable person: | Yes | Lone workers: | Yes | Public: | Yes |
| Injuries: | Bruises, choking, cuts, fatality, fracture, illness, puncture wound, sprain, strain, suffocate, mental health issues |

This risk assessment has been developed in line with the Management of Health and Safety at work etc. Act 1974, the First Aid at Work Regulations 2013, RIDDOR 2013; Regulatory Reform (Fire Safety) Order 2005; Control of Substances Hazardous to Health Regulations 2002; INDG 225 (rev1) – Preventing slips and trips at work; the Manual Handling Operations Regulations 1992 along with Health and Safety Executive (HSE) advice and guidance.

| Hazard | Accident | Likelihood | Severity | Risk Factor | Control Measures | Likelihood | Severity | Risk Factor |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| For a building to be classed as a store it needs to be a single room in a manged building where the MS Society have no responsibility for the property they are using except to follow the rules laid out by the owner. |
| Section 1-11: these sections of the risk assessment looks at the general hazards associated with running a property |
| 1 | Signage and document | No insurance, no knowledge of health and safety responsibilities, no checks leading to defects in facilities or no protection for Group in event of an incident. | 3 | 3 | 9 | Shops, offices garages and day centres MS Society public liability insurance displayed - details to include: name, date, product or service and cover amount Health and safety law displayed; what you should know poster (with contact details complete) MS Society’s health and safety policy statement displayed In addition any posters or notices highlighted by this risk assessment or requested by the MS Society or the local Group. Shops, offices garages and day centres: Internal property safety checklist to be completed by a volunteer or member of staff as laid out in Safety checklist HSV: 112. Defective equipment to be removed from the area and reported on form Defect report form HSV: 113. Competent person checks to be recorded as laid out in Competent person checks form HSV: 114. To be reviewed quarterly. HSV: 148 – Your safety matters poster; HSV: 145 – Safe sorting poster and HSV: 146 – safe lifting and carrying poster to be displayed as needed | 1 | 3 | 3 |
| 2 | Training | Individuals not knowing what action to take in an emergency or what their responsibilities are, leading to injury due to wrong actions or panic. | 3 | 3 | 9 | Shops, garages and day centres Anyone volunteering or working in these properties on behalf of the MS Society must: Complete Property induction HSV: 132 (refresher training every 3 years.) Read any policies highlighted by the induction and follow their guidance where appropriate e.g. health and safety policy, relevant risk assessments; Attend training highlighted by the induction e.g. fire safety, manual handling; Complete health and safety training highlighted by specific risk assessments or as requested by the MS Society or the local group. Office Anyone working in an MS Society office must: Complete the MS Society staff induction including a walk round of their office to ensure they know what to do in an emergency Discuss and agree any specific health and safety training needs with their manager such as fire awareness, first aid or manual handling. | 1 | 3 | 3 |
| 3 | Accident reporting | Repeat injuries. | 2 | 3 | 6 | Shops, offices, garages and day centres All individuals volunteering or working in any building on behalf of the MS Society must know: Where to find the relevant accident form How to complete HSV: 122 – Accident report. Who to inform of the accident | 1 | 3 | 3 |
| 4 | Incident reporting | Incidents escalating into accidents. | 1 | 3 | 3 | Shops, offices, garages and day centres All individuals volunteering or working in any building on behalf of the MS Society must know: Where to find the relevant incident form How to complete HSV: 123 – Incident report Who to inform of the accident | 1 | 1 | 1 |
| 5 | First Aid | Unable to treat injured personnel leading to escalating conditions. | 3 | 3 | 9 | Shops, offices and day centres must: Display HSV: 124 - Emergency aid notice (or equivalent) with the names of the emergency first aiders in a prominent position Have at least one emergency first aider who has completed the one day emergency first aid course on duty at all times Display the location of an appropriately stocked first aid kit Check the contents of first aid kit quarterly, keep up to date and record on HSV: 112 Have access to a phone in case of emergency Offices must: Complete HSV: 124B – first aid needs assessment Display emergency aid notice HSV: 124 (or equivalent) with the names and locations of the first aiders in a prominent position Have the requisite number of first aiders on duty at all time depending on the number of people using the office Display the location of an appropriately stocked first aid kit Check the contents of first aid kit quarterly, keep up to date and record on HSV: 112 Have access to a phone in case of emergency Garages must: Have a clear process in place in case anyone visiting the garage is injured or taken ill. Display the location of first aid box Check the contents of first aid box quarterly, keep up to date and record on HSV: 112 | 1 | 3 | 3 |
| 6 | Welfare facilities | Discomfort, general ill health. | 2 | 2 | 4 | Shops, offices and day centres must have: Suitable and sufficient lavatory and washing facilities with hot and cold water available; Suitable hot water warning signs displayed where mixer taps are not used; A signposted supply of safe drinking water; Facility to maintain adequate standards of hygiene and cleanliness in all areas of the building including the kitchen and toilets; Fridge temperature inspected weekly (kept at 5oC or below), recorded HSV: 112 (shops, offices and day centres) A responsible person who carries out the safety checks as laid out in HSV: 112 (shops, offices and day centres) All these facilities must be fully accessible to anyone with MS. Adequate standards of workplace/ kitchen hygiene and cleanliness maintained throughout property If attendees have specific needs that require Personal Care, they will bring an appropriate carer professional with them to the event? If you need further information about this you can find it at: PC volunteer info or PC staff info If under 18’s or vulnerable adults will be attending the event please go to our safeguarding guidance at: SG volunteer info or SG staff info for details on what is needed. If there are any queries regarding disclosure checks present these to the Volunteer Support Team if you are a volunteer, or your line manager if you are a member of staff. Food: Where the MS Society is providing its own refreshments, any food must be purchased pre-prepared, pre-packed and ready to eat. For further details go to: Food provision at group activities Garages: If volunteers/ members of staff are carrying out short duration tasks where they handle oil or other substances used in basic vehicle maintenance on a regular basis; sanitary and washing facilities must be provided. Gloves and overalls must be available with somewhere to store them. If the building is used only for storage and volunteers/staff only spend brief periods there; sanitary and washing facilities are not obligatory. | 1 | 2 | 2 |
| 7 | Security | Assault leading to injury, loss of money or goods. | 2 | 2 | 4 | Shops, offices and day centres Volunteers, members of staff and visitors must sign the property personnel register HSV: 111 (or equivalent) Volunteers/ staff advised not to bring personal possessions to the shop Visitors to be accompanied at all times when in non-public areas of a building Contractors are the responsibility of the person who has hired them and should be supervised at all times Property must be secured on leaving Volunteers/ members of staff must be advised not to bring personal possessions with them unless they know they can secure them safely Facilities must be available in shop (and day centre where applicable), for storing cash securely and a safe way of transferring cash to the bank must be in place. Groups with a shop; consider participating in a local retail crime partnership. For guidance on how to handle cash donations safely go to: HSV: 925 – Handling donations safely. | 1 | 2 | 2 |
| 8 | Lone working | Individual becoming trapped due to injury, abuse, threats. | 3 | 3 | 9 | All individuals volunteering or working alone in any MS Society building must have: Access to a basic first aid kit for treating minor injuries Access to a mobile phone in case of emergency Read the relevant MS Society lone working guidance and follow as appropriate. These policies can be found at: LW volunteer info or LW staff info | 1 | 3 | 3 |
| 9 | Stress | Ill health, breakdown in worker relations, loss of volunteer | 2 | 3 | 6 | Any individual with issues relating to stress: If a volunteer contact the Volunteer support team at: mailto:volunteersupport@mssociety.org.uk If a member of staff contact HR at: mailto:hr@mssociety.org.uk | 1 | 2 | 2 |
| 10 | Vulnerable people | Unaware of surroundings, completing tasks not comfortable with. | 3 3 2 | 3 3 3 | 9 9 6 | Groups should complete the relevant induction: HSV: 132A – Young people (16 – 18 and students) HSV: 132B – Vulnerable adults HSV: 132C – Expectant mothers | 1 1 1 | 3 3 2 | 3 3 2 |
| 11 | Contractor | Accidents because unaware of their surroundings; can cause a risk to others. | 3 | 3 | 9 | Whoever organised the contractor must Ensure they have the right skills and level of competence for the task Have completed induction HSV: 132D (or an equivalent) Are not be left unsupervised while vulnerable people are on the premises. | 1 | 3 | 3 |
| Section 12: this section of the risk assessment looks at hazards associated with equipment |
| 12 | Equipment (i.e. workshop tools and machines; sorting area tables, scales, steamers, irons, office equipment) | Electric shock, contact with moving parts or sharp surfaces, traps, muscular-skeletal injuries, headaches, stress. | 3 | 3 | 9 | All equipment must: Be suitable for intended use. Be secured in position. Have correct guards fitted and easily visible emergency stop controls where needed. Have clear operational instructions displayed. Have secure storage have sharp or pointed surfaces. Be inspected and maintained in accordance with manufacturer’s instructions. Be checked and results recorded in line with HSV: 112 to ensure they are undamaged, any faults should be recorded on HSV: 113 - Defect report form. Must be inspected and maintained in line with manufacturer’s instructions including portable appliance testing as laid out in HSV: 114 Suitable personal protective equipment such as ear plugs, goggles, and gloves must be available. Secure storage must be provided for tools with sharp or pointed surfaces when not in use. Safety notices for the safety use of all equipment should be on display nearby. Portable appliances Portable electrical appliances used in a property must be tested and tagged annually by a competent person (e.g. trained electrician) and the results recorded on HSV: 114. Equipment for moving and handling people All equipment used for the purpose of moving and handling people such as fixed or mobile hoists or standing frames, must: Have clear instructions for set up and operation alongside the hoist Be visually checked every week by volunteers/ member of staff for defects and cleanliness and the results recorded in HSV: 112 Inspected, tested, serviced and maintained in line with manufacturer’s instructions including portable appliance testing as laid out in HSV: 114 A competent person must undertake LOLER inspection on each hoist every six months and a weight test annually if appropriate, recorded on HSV: 114 LOLER** certification for mobile hoists, slings etc. - 1 document: Statutory Thorough Examination report twice a year - these must be dated six months apart and within the last 12 months Where a passenger lift is available: Pneumatic backup system in place in case electrics fail, with volunteers trained to use it If no; safety zone fire rated for one hour on the upper floors Door wide enough for a wheelchair and lift controls accessible Must be inspected and maintained in line with manufacturer’s instructions A competent person must undertake LOLER inspection on each hoist every six months and a weight test annually if appropriate, recorded on HSV: 114 LOLER** certification for lifts, hoists etc. - 2 documents: One Statutory Thorough Examination report plus weight test One Statutory Thorough Examination report on its own These must be dated six months apart and within the last 12 months Accessible lavatories Meet accessibility requirments including entrance and use of visual contrast between key surfaces where appropriate Emergency alarm cord and reset button fitted Emergency alarm cord and reset button inspected and maintained in line with the manufacturer’s instructions Where applicable the disabled facility emergency alarm is tested weekly in line with HSV: 112 HVAC Inspected, tested, serviced and maintained in line with manufacturer’s instructions Initially legionnaire risk assessment carried out all water systems including HVAC Competent person completes ongoing legionella checks in line with the legionnaire risk assessment, recorded on HSV: 114 Use of equipment: Anyone using equipment whether in a voluntary or paid role must receive training on the following as a minimum so they Operate equipment safely in line with the manufactures instructions Know the location of circuit breakers when using electrical equipment; Visually inspect all equipment before use for obvious damage Remove damaged/ faulty appliances immediately and report all faults using HSV: 113 Plug devices in as close the work areas as possible and reduce the need for extension leads and multiple adaptors Run flexes where they cannot get wet or be damaged Unplug equipment when not in use Use relevant personal protective equipment Display screen equipment: Full details on the MS society’s provision for safe workstations can be found in risk assessment: VGRA: 805 – MS Society risk assessment for the provision of safe work stations Copies of this are available from the health and safety team at: healthandsafety@mssociety.org.uk Minimum standards: Every member of staff (and volunteer where applicable) to complete the DSE training and workstation assessment DSE assessors follow up on all assessments and support individuals with any issues On completion, a record of all training, DSE assessments and special requirements is kept DSE refresher training and assessment take place at least once every 3 years | 1 | 3 | 3 |
| Section 13: this section of the risk assessment looks at hazards associated with fire |
| 13.1 | Training | Individuals unable to escape, take wrong action leading to injury, panic. | 3 | 3 | 9 | Anyone volunteering or working in any MS Society building must: Know their responsibilities if there is an emergency (these will be clearly shown on the Fire safety plan HSV: 125 and as part of the induction during the property walk round) Take an active part in any fire drill Users who are to operate fire-fighting equipment have attended fire awareness training, with refresher training every three years | 1 | 3 | 3 |
| 13.2 | Fire safety plan | Fire, Individuals unable to escape, take wrong action leading to injury, panic. | 3 | 3 | 9 | Shops, offices, garages and day centres: Building has access to a telephone (mobile or landline) for emergencies. Fire safety plan HSV: 125 (or equivalent) is complete and displayed in a prominent position. If more than one person in property, HSV: 111 - personnel register (or equivalent) is completed daily. Live or passive fire drills completed twice per year and results recorded on HSV: 126 Visitors to be accompanied when not in public areas of a building. Contractors are inducted and fully supervised during their visit. No smoking signage must be prominent in all buildings. | 1 | 3 | 3 |
|  |  |  |  |  |  | Are there any visitors, staff or visitors that might need a Personal Emergency Evacuation Plan |  |  |  |
|  |  |  |  |  |  | If Yes; the person managing the property has worked in conjunction with the line manager/ group/ visitor contact to complete HSV: 127 Personal Emergency Evacuation Plan questionnaire and HSV: 127A Personal Emergency Evacuation Plan with the individual as appropriate and these are reviewed/ updated as necessary |  |  |  |
| 13.3 | Fire alarm Smoke alarm | Fire, individuals unaware of fire. | 3 3 | 3 3 | 9 9 | Shops, offices, garages and day centres: There is a wired/ manual fire alarm (visual if needed) and smoke detectors in place and inspected and maintained in line with the manufacturer’s instructions Where there is a disabled refuge alarm is in place it is inspected and maintained in line with the manufacturer’s instructions Fire alarm, smoke alarm systems or a disabled refuge alarm in place, they must be tested weekly by volunteer/ member of staff and recorded on HSV: 112. Fire alarm, smoke alarm systems and disabled refuge alarms serviced and maintained annually by a competent person and recorded in HSV: 114. Where there is no wired alarm; a claxon, aerosol or whistle can be used. It must be easily accessible and tested weekly, recorded on HSV: 112. Live/ passive fire drills must be run: Twice a year in MS Society owned property and recorded on HSV: 126. Once a year in managed buildings where the MS Society has a single office or other room Garages only need to run fire drills if they are occupied by a number of people on a regular basis | 1 1 | 3 1 | 3 1 |
| 13.4 | Fire fighting equipment | Fire escalates individuals unable to escape, panic. | 3 | 3 | 9 | Shops, offices, garages and day centres: Appropriate, clearly marked fire extinguishers must be easily accessible throughout property. For electrical equipment carbon dioxide fire extinguishers must be available; otherwise water, foam or powder. In kitchen areas a fire blanket must be on hand. Fire extinguishers and fire blankets must be checked for use/ damage every month for use or damage and recorded on HSV: 112. A competent person must service/ tag each fire extinguisher annually and the record the inspection on HSV: 114. | 1 | 3 | 3 |
| 13.5 | Emergency routes and exits | Fire, individuals unable to escape, take wrong action leading to injury, panic. | 3 | 3 | 9 | Shops, offices, garages and day centres: Emergency routes, internal exits and external exits must be: Clearly signposted Functional to everyone in the building At all times kept closed but not locked Free of combustible materials/ heat sources at all times Checked every 6 months and recorded on HSV: 112 Routes should be checked every day the property is used by a volunteer/ member of staff to ensure they are fully functional and recorded in HSV: 112. | 1 | 3 | 3 |
| 13.6 | Emergency lighting | Fire, individuals unable to escape, take wrong action leading to injury, panic. | 3 | 3 | 9 | Wired emergency lighting system tested by volunteers/staff every 6 months and recorded on HSV: 112 It must be serviced annually by a competent person and recorded on HSV: 114 If no wired system; torches must be stored at exits of the building and the batteries checked monthly and recorded on HSV: 112 | 1 | 3 | 3 |
| 13.7 | Services | Electric shock, gas leak, explosion, fire. | 3 | 3 | 9 | Volunteers and staff aware of emergency ‘switch off’ points for all services. Gas appliances to be inspected annually by a ‘Gas Safe’ registered engineer and recorded on HSV: 114. If gas bottles are used; they must be stored securely and changed by a competent person. Fixed electrical installation inspected and tested every five years and recorded on HSV: 114. If faults occur; cordon off the area and immediately and contact the owner or MS Society facilities manager. Complete HSV: 113 – defect report form. | 1 | 3 | 3 |
| 13.8 | Heating, ventilation and lighting | Fire, electric shock, contact with hot surfaces. | 2 | 3 | 6 | Is the ventilation appropriate for the event and those attending – this might be suitable air conditioning or the ability to leave windows and doors open to aid ventilation? Heating suitable and sufficient. Lighting suitable and sufficient in all areas; task lighting available for more intricate work. Both of these must be checked weekly and recorded on HSV: 112. No naked flames in any building. If air conditioning units or portable heaters used; they must never be covered or stored next to combustible materials. All equipment that is likely to get hot must be labelled as such. Volunteers/ members of staff should try to avoid spending long periods in buildings prone to temperature extremes. | 1 | 3 | 3 |
| 13.9 | Shops selling electrical appliances | Electric shock workers or members of the public, fire, no protection for Group if sell a product that is dangerous. | 3 | 3 | 9 | Testers must have city and guilds 2377/002 or equivalent. Products must be tested in accordance with the IEE code of practise. The testing area must have a circuit breaker, a suitable fire extinguisher and a rubber mat. There must be regular audit inspections of the process to ensure compliance. The shop manager must ensure the following documentation is used: HSV: 132PI – induction form for all testers HSV: 116A – items that pass HSV: 116B – items that fail HSV: 150 – disclaimer that must be displayed | 1 | 3 | 3 |
| Section 14: this section of the risk assessment looks at hazards associated with hazardous substances |
| 14.1 | Training | Exposure to chemicals leading to burns. | 3 | 3 | 9 | Where an MS Society property uses hazardous substances anyone who is volunteering or working there and is likely to come into contact with them must have read the safety data sheets and know the precautions to take in event of exposure. | 1 | 3 | 3 |
| 14.2 | Building structure | Collapse of building, contamination from hazardous materials. | 3 | 3 | 9 | Buying building: procure a survey to check for structural damage or hazardous materials. Set up an inspection and maintenance schedule for the building. Leasing building: do a visual check of the building before signing the lease. If lease owner does not complete regular building inspections, request them. Are landlords requirements followed in terms of making scheduled checks for wear or damage and reporting these when found | 1 | 3 | 3 |
| 14.3 | Asbestos | Exposure to asbestos with long term ill health and death. | 3 | 3 | 9 | Determine if asbestos survey has been carried out. If asbestos is present: Keep records available showing the location in an asbestos register Develop a plan detailing how the risk from the material will be managed Ensure contractors or anyone else read the asbestos register before commencing any type of invasive work Where no survey; arrange one. In the meantime, assume asbestos is present and do not allow work that could disturb the material such as drilling walls, installing electrical items or painting. HSV: 115 – Asbestos management plan has been developed to support this process. | 1 | 3 | 3 |
| 14.4 | Fuel Oil Aerosols Cleaning products | Fire, chemical burns, exposure to fumes, slips trips and falls resulting in injuries. | 3 2 2 2 | 3 3 3 2 | 9 6 6 2 | Do not store spare fuel or other flammable, corrosive, toxic or substances in the property. Where possible replace cleaning products with orange hazardous substance labels with safer options. Alternatively request safety data sheets from the manufacturers and follow their guidelines. Keep all cleaning products in their original labelled bottles. Store in a locked container and restrict access to those trained to use the products. Make gloves and eye protection available. A volunteer/member of staff should check monthly to ensure this process is being followed and recorded on HSV: 112 | 1 1 1 1 | 1 2 2 2 | 1 2 2 2 |
| 14.5 | Sharps Waste | Cuts, infections from dirty needles, contact with bodily fluids | 3 2 | 3 3 | 9 6 | Personal protective equipment (e.g. disposable gloves, aprons etc) must be available for volunteers/ members of staff handling sharps or waste. Sharps bins must be available for all syringes/ pricing gun needles. Sanitary products, contaminated or flammable waste must be disposed of in accordance with manufacturers’ instructions. Clear system in place to ensure each individual responsible for their own housekeeping Once an individual has completed a task they are responsible for clearing it. All waste (including food) must be adequately disposed of in secure units. Where cleaning products in place for hot desks – notices on their use in plain sight Individuals who visit a rubbish dump on a regular basis should keep their anti-tetanus vaccination up to date. Nuisance masks, high visibility vests and cold weather clothing should be available as appropriate. External cleaning company confirms: They hold appropriate public insurance They have risk assessments and COSHH assessments in place for all activities and products Their equipment is suitable for use, inspected and maintained in line with manufacturer’s instructions including portable appliance testing. All cleaners are competent to set up, use or supervise the use of equipment to complete their tasks in line with manufacturer’s instructions. Where cleaning products in place for hot desks – notices on their use in plain sight | 1 1 | 3 3 | 3 3 |
| 14.6 | Legionnaire disease | Respiratory infections, death | 3 | 3 | 9 | Each property must have a legionella risk assessment is carried out by competent person. This risk assessment must be used to ensure relevant staff trained to manage and implement the written scheme for controlling legionella in the property – this should highlight: Any actions that need to be taken and outline ongoing temperature checks and maintenance (e.g. periodic descaling) of water system are undertaken and recorded. Any specific circumstances in place that may affect the scheme for controlling legionella e.g. water supply fed from a tank in a neighbouring property? If Yes, are there precautions in place to reduce the likelihood of the shop supply being contaminated due to issues in the neighbouring property and has HSV: 119 been updated with this information? Have any changes been made to the water supplies in the shop e.g. a new water heater installed, changes made to the plumbing? If “Yes” to that above has the log book been updated with this information to reflect these changes along with any relevant monitoring scheme? HSV: 119 – Log book for legionella management and control has been developed to support this process. If leased property are there any additional landlord requirements regarding legionella disease such as: running taps, testing water temperature or replacing equipment such as water boilers Occupational diseases that can be attributed to exposure to legionella in the property been reported using HSV: 124 | 1 | 3 | 3 |
| 14.7 | Infectious diseases | Respiratory infections, physical ailments, death | 3 | 3 | 9 | Research government and medical guidance and develop systems in line with this to keep volunteers and members of staff safe while they are involved in MS Society activities. Check here for the latest COVID guidance and here for the most up to date version of HSV: 921B – COVID19 guidance sheet | 1 | 3 | 3 |

| Section 15: this section of the risk assessment looks at hazards associated with slips, trips and falls |
| --- |
| 15.1 | Training | Slips, tips and falls leading to injury. | 3 | 2 | 6 | Use signage to help individuals ensure they are capable of dealing with the environment and aware of their surroundings, such as gradients, uneven ground, and pot holes in the car park or leading to the property. | 1 | 3 | 3 |
| 15.2 | Outside | Slips, tips and falls leading to injury. | 3 | 2 | 6 | Properties have appropriate disabled access (ramp or steps are anti-slip), segregated traffic and pedestrian areas, clearly marked parking spaces. Outside areas adequately lit and free from slip and trip hazards. Visual contrast as appropriate on ramps, barriers and planters. Suitable and sufficient disabled parking available or drop off points. For inclement weather, provide a secured mat of a type that removes excess moisture from footwear without causing a trip hazard. Adequate arrangements for delivery of stock to ensure users safety. | 1 | 2 | 2 |
| 15.3 | Inside | Slips, tips and falls leading to injury. | 2 | 2 | 4 | Glazing in entrance doors and windows to be marked where there is a risk of injury. Suitable restraints provided to prevent falls from windows. The layout of sales area, backroom, cellar, attic, office’s, main entrance areas, social areas and therapy rooms designed to allow sufficient space for occupants to move about comfortably. Floor surface suitable for tasks being carried out, in good condition, cleaned regularly and spillages and dropped items cleared as soon as they are noticed. Caution signs available to warn of trip or slip hazards. Stairways have at least one handrail and non-slip surface with contrasting colour edge. Walkways, stairs and landings not to be used for storage. Floor level changes, low doorways or ceilings clearly marked with signage or contrasting tape. Shop fitting room accessible to all; otherwise appropriate returns policy in place. All these areas checked daily and recorded in HSV: 112. | 1 | 2 | 2 |
| 15.4 | Fixtures, fittings and furniture | Shelves, hooks, equipment falling leading to injury or breakages. | 2 | 2 | 4 | Fixtures, fittings, overhead rails, shelving, free standing units to be: Meet accessibility requirments including use of visual contrast between key surfaces where appropriate Adequate for the task and free from obvious defects or damage. Securely installed and appropriate to products stored or displayed. Items used most often stored to hand and heavier items stored at low level Set up so as not to restrict access. Easily accessible to any visitor to the property. Inspected by the volunteer/ member of staff every quarter, maintained in line with manufacturer’s instructions and recorded on HSV: 112. Furniture adequate for the task and free from obvious defects/damage. Filing cabinets fitted with anti-tilt mechanism, secured to the wall or labelled saying only one drawer to open at any one time. Layout of storage and work areas designed so sufficient space for users to manoeuvre comfortably | 1 | 2 | 2 |
| 15.5 | Working at height | Falls from height leading to injury. | 3 | 3 | 9 | Find alternatives to step ladders like long handled grips or kick stools. Where these tools used ensure they are suitable for the task, the person does not have to overreach or overload themselves. Where ladders used: Follow HSE guidance–safe use of ladders and stepladders for pre-use checks and methods of use Ladders inspected every six months, recorded on HSV: 117 When planning to replace stepladders, consider improved designs including longer handrails and larger platforms. Encourage those using stepladders on a daily to complete training on the safe use, inspection and maintenance of stepladders. | 1 | 3 | 3 |

| Section 16: this section of the risk assessment looks at hazards associated with manual handling |
| --- |
| 16.1 | Training | Injuries due to incorrect lifting, poor posture from prolonged bending and twisting, repetitive moving and handling | 3 | 3 | 9 | Anyone volunteering or working in any building on behalf of the MS Society must learn how to use the manual handling assessment tool developed by the Health and Safety Executive (HSV: 141 - Manual handling risk assessment) to ensure any new task they face is safe to carry out. Volunteers/ members of staff who carry out manual handling tasks as part of their everyday operations should be encouraged to attend manual handling training along with refresher training every three years. | 1 | 3 | 3 |
| 16.2 | Collecting stock | Incorrect lifting or carrying, dropped objects leading to injuries or musco-skeletal conditions. | 2 | 3 | 6 | Volunteers/ members of staff who collect stock must be encouraged to attend manual handling training along with a refresher every three years. Collection handling equipment should be used at all times. Stock collectors must carry identification. Volunteers/ members of staff must wear protective gloves and stout footwear where heavy objects being moved. | 1 | 3 | 3 |
| 16.3 | Moving and handling loads | Injuries due to incorrect lifting or poor posture. | 3 | 2 | 6 | Are volunteers and staff aware of who the trained manual handlers are Users know how to use the manual handling assessment tool HSV: 141 Where possible, volunteers/ members of staff must avoid moving and handling any loads. Mechanical aids such as sack trucks, trolleys or roll cages should be made available in buildings where manual handling is an everyday task. Users carry out a visual inspection of equipment they use prior to use. Equipment inspected in line with HSV: 112 and maintained in line with manufacturer’s instructions Users carry out a visual inspection of equipment they use prior to use Volunteers/ members of staff should be rotated if the task is of long duration or long distances are to be covered. Two man lifts should be used where the package is bulky as well as heavy. Donated goods should be broken down to make them more manageable. They should be weighed using scales to a maximum weight of 7Kg preferably 5Kg. Volunteers/staff must use the correct lifting technique as laid out in HSV: 146 Safe lifting and carrying poster; on all loads when working alone. Gloves to be available and stout footwear worn whenever heavy objects are being moved. | 1 | 2 | 2 |
| 16.3 | Moving and handling people | Injuries due to incorrect lifting or poor posture. | 3 | 3 | 9 | If attendees have specific needs that require Personal Care, they will bring an appropriate carer professional with them to the event? If you need further information about this you can find it at: PC volunteer info or PC staff info MS Society volunteers/ members of staff must not involve themselves in moving and handling people unless they are fully trained and competent to do so in their own right. | 1 | 2 | 2 |
| 16.4 | Storage | Overreaching, twisting, pushing, pulling leading to falls or musco-skeletal injuries. | 2 | 2 | 4 | Shops (other properties where appropriate): Consideration should be given to storage in terms of: Layout of storage areas ensuring items that are used the most often are to hand whilst heavier items are stored at a low level. Stock control system to be in operation to prevent hoarding of stock and overcrowding of work areas. Increase the number of people sorting so less storage is needed. Increase frequency of waste collections to avoid cluttered areas. Volunteers/staff to refuse donations if no storage space is available. Quarterly stock inspection to ensure it is stored safely, record on HSV: 112. | 1 | 2 | 2 |
| 16.5 | Sorting operations | Touching unknown objects such as needles or bodily waste, poor posture from prolonged bending and twisting, repetitive moving and handling | 3 | 3 | 9 | Shops (other properties where appropriate): Volunteers and staff to adopt a safe sorting system as laid out in HSV: 145: Set up a sorting area preferably at waist height; so that there is minimum need to bend or twist the body. Share sorting tasks between all volunteers/ members of staff and ensure they take regular breaks. Use suitable tools such as retractable blades for opening packages. Heavy duty gloves to be used for initial sorting. Do not thrust hands into sacks; empty contents onto a flat surface. Look through for needles; sharp, broken or soiled items. If sharps are found, remove using tweezers and put in a sharps box. Dispose of sharp or broken items by wrapping them in newspaper. Use bag openers or holder to keep rag sacks etc open while filling up. Short term storage/ regular collections to be arranged for unsalable stock. | 1 | 3 | 3 |
| Section 17: this section of the risk assessment looks at activities taking place within the property |
| 17.2 | Event falling outside normal property activities | Injuries due to event not being set up safely e.g. car park with no marshals, gazebo set up with no instruction | 3 | 3 | 9 | Where a property is setting up any kind of event that falls outside their normal property activities such as a day centre running a fete or an office running a bring-and-buy sale, they must ensure the correct risk management process is completed. The process for completing this can be found on the volunteer website here for events and here for fundraising. | 1 | 3 | 3 |
| 17.3 | Fitness activities or therapies falling outside normal property activities | Injuries due to individuals taking part in inappropriate activities, mistakes, failure of equipment | 3 | 3 | 9 | Where a property is setting up any kind of fitness activity or therapy they must ensure that they put in place a service level agreement with the instructor. The process for completing this can be found on the volunteer website here. | 1 | 3 | 3 |

| RISK ASSESSMENT MATRIX |  |  |  |
| --- | --- | --- | --- |
|  |  | SEVERITY |  |  |  |
|  |  | SLIGHTLY HARMFUL - 1 | HARMFUL - 2 | EXTREMELY HARMFUL - 3 |  |  |  |
| LIKELIHOOD | NOT LIKELY – 1 | LOW – 1 | MEDIUM – 2 | MEDIUM – 3 |  | LOW RISK | No additional controls are required |
|  | POSSIBLE – 2 | LOW – 2 | MEDIUM – 4 | HIGH – 6 |  | MEDIUM RISK | Efforts should be made to reduce the risk within a defined period of time– using cost versus risk analysis |
|  | PROBABLE - 3 | MEDIUM – 3 | HIGH - 6 | HIGH – 9 |  | HIGH RISK | Activities should be stopped until the risk has been reduced. |

Based on Gantt chart guidance